# Serum metabolomics and lipidomics profiling in iliac arteriovenous fistula creation in clinical patients: part 2

# METHODS

# Study Populations

# Institutional review board (IRB) of the University of Florida reviewed and approved this study.  All human subjects included in this study were fully informed about the study, and informed consent were obtained from each of them (IRB#140-2013, IRB#556-2009). Blood samples from controls (with normal renal function) and ESRD patients were collected at different time points as mentioned in our previous study [1].

# Serum Collection

# Serum samples were collected from the patients. The samples were let sit at room temperature for ~45 minutes. Later, the samples were centrifuged for 15 minutes maintaining 2180-rpm speed at 4 oC with brake on. The supernatant from each sample was transferred into a new 15 mL tube and furthermore, aliquoted into a vial (250 uL in each vial). All of the serum samples were stored at -80 oC until analysis.

## Chemicals

For extraction purposes, different chemicals were used as such without further purification (otherwise stated) and were obtained from different vendors. Detailed information about the chemicals and vendors were mentioned in our previous publications [1-3].

## Samples preparation: NMR

Serum samples are associated with binding of residual proteins with sodium trimethylsilylpropanesulfonate-d6 (DSS) signal, resulting broaden DSS peak. The presence of the residual proteins, even after performing modified FOLCH extraction, was observed for serum samples, making it un-reliable for quantitative purpose. In this study, we coupled two extraction protocols to extract metabolites from the serum samples. Modified FOLCH extraction was performed as a first step to separate out water-soluble and lipid-soluble metabolites/compounds, following protocols as mentioned in our previous publications [4,5]. Furthermore, acetonitrile:isopropanol:water (3:3:2 vol/vol/vol) extraction was performed on aqueous phase samples that we obtained from modified FOLCH extraction, following protocols described in the previous work [6].

Dry powder of lipid phase sample (from modified FOLCH extraction) was dissolved in 700 µL of CDCl3 consisting 10 mM of pyrazine as an internal standard. All NMR experiments were acquired at room temperature (i.e. 298 oF). 1D 1H NMR spectra were collected using 1D NOESY pulse sequence (noesypr1d). Detailed about acquiring and processing parameters can be found from our previous publication [5,6].

REFERENCES

1.	Rehfuss, J.P.; Berceli, S.A.; Barbey, S.M.; He, Y.; Kubilis, P.S.; Beck, A.W.; Huber, T.S.; Scali, S.T. The spectrum of hand dysfunction after hemodialysis fistula placement. Kidney Int Rep 2017, 2, 332-341, doi:10.1016/j.ekir.2016.11.006.

2.	Kyoungrae Kim; Erik M. Anderson; Andrew J. Martin; Qiongyao Hu; Tomas A. Cort; Kenneth C. Harland; Kerri A. O’Malley; Guanyi Lu, M.; Scott A. Berceli; Terence E. Ryan; et al. Development of a murine iliac arterio-venous fistula model for examination of hemodialysis access-related limb pathophysiology. 2021, 2, 247-259, doi:https://doi.org/10.1016/j.jvssci.2021.09.022.

3.	Thome, T.; Salyers, Z.R.; Kumar, R.A.; Hahn, D.; Berru, F.N.; Ferreira, L.F.; Scali, S.T.; Ryan, T.E. Uremic metabolites impair skeletal muscle mitochondrial energetics through disruption of the electron transport system and matrix dehydrogenase activity. Am J Physiol Cell Physiol 2019, 317, C701-C713, doi:10.1152/ajpcell.00098.2019.

4.	Lohr, K.E.; Khattri, R.B.; Guingab-Cagmat, J.; Camp, E.F.; Merritt, M.E.; Garrett, T.J.; Patterson, J.T. Metabolomic profiles differ among unique genotypes of a threatened Caribbean coral. Sci Rep 2019, 9, 6067, doi:10.1038/s41598-019-42434-0.

5.	Khattri, R.B.; Thome, T.; Ryan, T.E. Tissue-Specific 1H-NMR Metabolomic Profiling in Mice with Adenine-Induced Chronic Kidney Disease. Metabolites 2021, 11, doi:10.3390/metabo11010045.

6.	Khattri, R.B.; Puglise, J.; Ryan, T.E.; Walter, G.A.; Merritt, M.E.; Barton, E.R. Isolated murine skeletal muscles utilize pyruvate over glucose for oxidation. Metabolomics 2022, 18, 105, doi:10.1007/s11306-022-01948-x.