Liquid chromatography-tandem mass spectrometry:

Three different chromatographic methods, including a HILIC, a reverse phased C18 and a reverse phased C8 columns, were used to attain a wide coverage of compound groups. The aqueous fraction of the extraction, which is expected to contain core and specialized metabolic intermediates, was used for HILIC and C18 chromatography, while the organic fraction was used for C8 based chromatography for the separation of lipids. An Eksigent Ekspert microLC 200-chromatography system and a CTC Analytics Leap HTS PAL liquid handler hooked to a benchtop Q-Exactive Orbitrap MS was used for all untargeted LC-MS analysis. HILIC separation was achieved using a custom made zic-pHILIC (100 x 0.5 x 3 µm) column obtained from Higgins Analytical Inc. (Mountain View, CA) with the mobile phases, 10 mM ammonium bicarbonate in ddH2O (solvent A) and 10 mM ammonium bicarbonate in 95:5 (v/v) Acetonitrile: ddH2O (solvent B) and a flow rate of 15 µL/min. The following gradient was used for HILIC; 0-2 min at 100% B, 3 min at 85% B, 16 min at 50% B, 17 min at 30% B, 18 min at 30 % B, 20 min back to 100% B and equilibration up to 30 min. Reverse-phase chromatography was performed using a Targa C18 (100 x 0.3 x 5 µm) column with the mobile phases, 0.1 % formic acid in ddH2O (Solvent A) and 0.1 % formic acid in Acetonitrile (Solvent B), and a flow rate of 15 µL/min. The gradient conditions used for the C18 method are as follows; 0-3 min at 2% B, 13 min at 100% B, 16 min at 100% B, 19 min at 2% B, and equilibration up to 30 min. For lipidomics, a custom-made C8 column (100 x 0.5 x 1.7 µm) from Higgins Analytical Inc. (Mountain view, CA) was used with the mobile phases 1% 1 M ammonium acetate, 0.1% acetic acid in ddH2O (solvent A) and 1% 1 M ammonium acetate, 0.1% acetic acid in 7:3 (v/v) acetonitrile: isopropanol, and a flow rate of 40 µL/min. The following gradient modified from Hummel et al. (2011) (Hummel et al., 2011) to adopt to microflow was used; 0-1 min at 55% B, 3 min at 75% B, 8 min at 89% B, 10 min at 99% B, 11 min at 99% B and 12 min at 55% B followed by equilibration up to 18 min.