Subcutaneous and Visceral Fat

Platform: CSH_QTOF

Extraction Protocol:

- Degas pre-chilled “MeOH with QC Mix” and MTBE with “CE22:1” for 5 minutes using Ultrasonicator. Keep on ice during extraction.

- Weight out approximately ~5mg of adipose tissue on dry ice. Be sure to note the exact weight of each sample.

- Homogenized Adipose tissue using Cryo Genogrinder

  - Used 3-4 1.6 stainless steel balls per sample; 2 minutes at 1350 RPM (perform twice)

- Add 225µL of cold “MeOH with QC Mix” to homogenate

- Vortex for 10 seconds

- Add 750µL of cold MTBE without 22:1 CE (TG overwhelm the spectrum and massive dilution is required. This ISTD is lost due to dilution)

- Vortex for 10 seconds

- Shake for 6 minutes at 4C in Orbital Mixer

- Add 188µL of deionized H2O at room temperature to each sample

- Vortex for 20 seconds

- Centrifuge for 2 minutes @ 14,000 rcf

- Remove 350µL of top layer (x2 aliquots) to a new labeled 1.5mL eppendorf tube

  - Store one 350µL aliquot as backup in -20C

- From the 350µL aliquot, transfer 80µL (270µL remaining in original tube) to a new 1.5mL eppendorf tube. The 80µL aliquot will be used for analysis of TGs; the 270µL aliquot will be used for PCs, etc.

- Dry down both the 270µL and 80µL aliquots to complete dryness using the Speedvac

- Resuspension

  - 80µL Aliquot

    - resuspend sample in 200µL of 50ng/mL CUDA

    - vortex and sonicate for 5 minutes

    - centrifuge for 2 min at 14,000 rcf

    - dilute sample 20x in a new 1.5mL labeled eppendorf tube (i.e. take 5µL of resuspended sample and dilute in 95µL of 50ng/mL CUDA); store remaining solution (non-diluted) in -20C freezer as injection backup

    - vortex for 10 seconds

    - transfer 100µL of diluted sample to amber vial with micro-insert

    - cap immediately

    - submit for analysis by CSH_QTOF

  - 270µL Aliquot

    - Resuspend sample in 200µL of 50ng/mL CUDA

    - Vortex and sonicate for 5 minutes

    - centrifuge for 2 min at 14,000 rcf

    - transfer 100µL of diluted sample to amber vial with micro-insert

    - cap immediately

    - submit for analysis by CSH_QTOF

- Instrument: Agilent 1290 Infinity Ultra-High Performance LC coupled with 6530 Accurate Mass QTOF

  - Methods:

    - 80µL aliquot (20x diluted):

      - CORE_centroid_CSH_pos_MS_110813IG.m

    - 270µL aliquot:

      - JFF_centroid_CSH_pos_MS_timed_segments__5uL inject_2202014.m for positive mode

        - This method discontinues MS collection at 8 minutes to avoid saturation of the MS source by TGs

      - CORE_centroid_CSH_neg_MS_110813IG.m for negative mode

Figure A

Adipose Tissue Range Finding Trials based of ~5mg of adipose tissue:

Purple Chromatogram: non-diluted 350µL extracts; injection volume: 0.2µL; number of saturated peaks: 20**

Blue Chromatogram: non-diluted 80µL extracts; injection volume: 1.67µL; number of saturated peaks: 29

Red Chromatogram: 80µL extracts diluted 10x; injection volume: 1.67µL; number of saturated peaks: 13

Green Chromatogram: 80µL extracts diluted 20x; injection volume: 1.67µL; number of saturated peaks: 5

**: was not reproducible; technical repeats were inconsistent

Figure B

Adipose Tissue Range Finding Trials based of ~5mg of adipose tissue:

80µL extracts diluted 20x; injection volume: 1.67µL; full chromatogram

Figure C

Adipose Tissue Range Finding Trials based of ~5mg of adipose tissue:

Blue Chromatogram: 270µL extracts; injection volume: 5µL

Green Chromatogram: Method Blank-270µL Extracts

Figure B

Figure C

Figure A