METHODS

ON crush and intravitreal injections

A rat model of inflammation-induced ON regeneration was established by intravitreal injection of a yeast cell wall preparation (Zymosan A) and a cell permeant CPT-cAMP, immediately after ON crush. Ten-week-old male Fischer rats were deeply anesthetized with inhaled isoflurane, and the eyes were treated with topical anesthetic (proparacaine HCl 0.5% ophthalmic) and a cycloplegic (tropicamide 0.5% ophthalmic) to reduce pain and assist with visualization of intravitreal injections. The left ON was exposed by blunt dissection through a temporal, fornix-based conjunctival incision and crushed for 10 seconds with Dumoxel #N5 self-closing forceps (Dumont, Montignez, Switzerland). Absence of injury to the retinal vascular supply was confirmed by post-crush funduscopic examination. Intravitreal injections (5 µL) of PBS vehicle or a suspension of finely ground, sterilized Zymosan A (Z4250; Sigma-Aldrich, St. Louis, MO, USA; 12.5 mg/mL) plus CPT-cAMP (C3912; Sigma-Aldrich, St. Louis, MO, USA; 100 µM) were performed with a pulled glass pipette attached to a Hamilton syringe on a manual micromanipulator. Injections were made 2 mm posterior to the limbus, and care was taken to prevent lens injury, choroidal hemorrhage, or retinal detachment. Absence of these intraocular adverse events was confirmed by fundoscopic examination. Conjunctival incisions were closed with 8-0 vicryl sutures and petrolatum ophthalmic ointment was applied to the ocular surface. Experimental groups consisted of naïve controls (control), ON crush + intravitreal Zymosan + CPT-cAMP (regeneration), and ON crush + intravitreal vehicle (crush). Retinas were harvested on day 7 and 14 and ON were harvested on day 3, 7 and 14 post-crush.

Lipid extraction

Specimens were stored at -80ºC. Before extraction, ON and retinas were cut into ~1 mm3 pieces. 6 mL of methanol (LC-MS grade) and 3 mL of chloroform (LC-MS grade) were added to each sample. For this high throughput approach, no internal standards were added to samples. After 2 min vigorous vortexing and 2 min sonication in ultrasonic bath, the samples were incubated at 48ºC overnight (in borosilicate glass vials, PTFE-lined caps). The following day, 3 mL of water (LC-MS grade) and 1.5 mL of chloroform were added, samples vigorously vortexed for 2 min and centrifuged at 3000 RCF, 4ºC for 15 min to obtain phase separation. Lower phases were collected and dried in a centrifugal vacuum concentrator. Samples were stored at -20ºC until reconstituted in 60 µL of chloroform:methanol (1:1) prior to mass spectrometric analysis.

High performance liquid chromatography (HPLC)

Reversed phase chromatographic separation was achieved using Accela Autosampler, Accela 600 pump and Acclaim C30 column: 3 µm, 2.1x150 mm (Thermo Fisher Scientific, Waltham, MA). The column temperature was maintained at 30 ºC (negative mode) or 45ºC (positive mode) and tray temperature at 20ºC. Solvent A was composed of 10 mM ammonium acetate (LC-MS grade) in 60:40 methanol:water (LC-MS grade) with 0.2% formic acid (LC-MS grade). Solvent B was composed of 10 mM ammonium acetate with 60:40 methanol:chloroform with 0.2% formic acid. The flow rate was 260 µL/min and injection volume was 5 µL. The gradient was 35-100% solvent B over 13.0 min, 100% solvent B over 13.0-13.8 min, 100-35% solvent B over 13.8-14.5 min, 35% solvent B over 14.5-18.0 min, 0% solvent B over 18.0-20.0 min.

Mass spectrometry

The Q Exactive (Thermo) mass spectrometer was operated under heated electrospray ionization (HESI) in positive and negative modes separately for each sample. The spray voltage was set to 4.4 kV, the heated capillary was held at 310ºC (negative mode) or 350ºC (positive mode) and heater at 275°C (positive mode). The S-lens radio frequency (RF) level was set to 70. The sheath gas flow rate was set to 30 (negative mode) or 45 units (positive mode) and auxiliary gas to 14 (negative mode) or 15 units (positive mode). External mass calibration was performed with the standard calibration mixture every 7 days. Full scan (m/z 150-1500) used resolution 70,000 at m/z 200 with automatic gain control (AGC) target of 1x106 ions and maximum ion injection time (IT) of 100 ms. Data-dependent MS/MS (top10) were acquired with the following parameters: resolution 17,500; AGC 2x105 (negative mode) or 1x105 (positive mode); maximum IT 100 ms (negative mode) or 75 ms (positive mode); 1.3 m/z isolation window; underfill ratio 0.1%; intensity threshold 2x103 (negative mode) or 1x103 (positive mode); dynamic exclusion time 3 s (negative mode) or 10 s (positive mode). Normalized collision energy (NCE) settings were 40±30% for the negative mode and 30, parallel with 19±5% for the positive mode.

Lipid identification and relative quantification

Lipid identification and relative quantification were performed with LipidSearch 4.1 software (Thermo). The search criteria were as follows: product search; parent m/z tolerance 5 ppm; product m/z tolerance 10 ppm; product ion intensity threshold 1%; filters: toprank, main isomer peak, FA priority; quantification: m/z tolerance 5 ppm, retention time tolerance 1 min. The following adducts were allowed in positive mode: +H, +NH4, +H-H2O, +H-2H2O, +2H and negative mode: -H, +HCOO, +CH3COO, -2H. All classes were selected for search. LipidSearch nomenclature is used.

Data processing

Positive and negative mode identifications of retina and ON samples were aligned in LipidSearch 4.1, allowing calculation of unassigned peaks. The following settings were applied: product search; alignment method max; retention time tolerance 0.1 min; filters: toprank, main isomer peak; M-score 5; molecular lipid identification grade: A-B (A: lipid class and fatty acid completely identified or B: lipid class and some fatty acid identified). Only peaks appearing in all biological replicates were accepted.

LipidSearch nomenclature of the lipid species.

| Group | ClassKey | Lipid name |
| --- | --- | --- |
| phospholipid | BisMePA | bismethyl phosphatidic acid |
|  | cPA | cyclic phosphatidic acid |
|  | dMePE | dimethylphosphatidylethanolamine |
|  | LdMePE | lysodimethylphosphatidylethanolamine |
|  | LPC | lysophosphatidylcholine |
|  | LPE | lysophosphatidylethanolamine |
|  | LPI | lysophosphatidylinositol |
|  | PA | phosphatidic acid |
|  | PC | phosphatidylcholine |
|  | PE | phosphatidylethanolamine |
|  | PEt | phosphatidylethanol |
|  | PG | phosphatidylglycerol |
|  | PI | phosphatidylinositol |
|  | PMe | phosphatidylmethanol |
|  | PS | phosphatidylserine |
| sphingolipid | Cer | ceramide |
|  | SM | sphingomyelin |
|  | So | sphingosine |
| glycosphingolipid | CerG1 | hexosyl ceramide |
|  | CerG3 | trihexosyl ceramide |
|  | SoG1 | hexosyl sphingosine |
|  | ST | sulfatide |
| cardiolipin | CL | cardiolipin |
| neutral glycerolipid | DG | diglyceride |
|  | MG | monoglyceride |
|  | TG | triglyceride |
| steroid | ChE | cholesterol ester |
|  | ZyE | zymosterol |
| coenzyme | Co | coenzyme |
| fatty esters | AcCa | acyl carnitine |
|  | WE | wax ester |
| glycoglycerolipid | MGDG | monogalactosyldiacylglycerol |
|  | SQDG | sulfoquinovosyldiacylglycerol |