#### Metabolomics analysis.

Sugars Analysis

Low molecular weight sugars and NAc-sugar amines were quantified by LC-MRM/MS at The Metabolomics Innovation Centre (TMIC) commercial service (University of Victoria , Genome BC Proteomics Centre), according to previously published UPLC-MRM/MS  methods (45), with necessary modifications. In brief, a mixed stock solution of 13 low-MW sugars and 4 N-acetyl sugar amines was prepared with the use of their standard substances in 80% methanol at 500 µM for each compound. This solution was then serially diluted with the same solvent to prepare calibration solutions in a concentration range of 0.002 to 125 µM. For chemical derivatization,  20 µL of each medium sample or each calibration solution was mixed in turn with 20 µL of an internal standard solution containing 13C6-glucose, 13C6-mannose, 13C6-fructose and 13C5-ribose in water, 40 µL of 200-mM 3-nitrophenylhydrazine hydrochloride solution in 60% methanol and 40 µL of 200-mM EDC.HCl solution prepared in a mixed solvent of methanol/water/pyridine (60:40:5, v/v/v). The mixture was allowed to react at 50 ºC for 90 min. After reaction, 20-µL aliquots were injected onto a Phenomenx PFP UPLC column (2.1 x 150 mm, 1.7 µm) to run LC-MS/MS on an Agilent 1290 UHPLC system coupled to an Agilent 6495B QQQ mass spectrometer, which was operated in the negative-ion multiple-reaction monitoring (MRM) mode.  For LC separation, 0.1% formic acid in water/methanol (76/24, v/v) was used as the mobile phase at 0.25 mL/min and 40 ºC for isocratic elution over a period of 15 min.  The raw data was acquired using the Agilent MassHunter® 7.0 software. After data acquisitions, linearly regressed calibration curves of individual compounds were constructed with the analyte-to-internal standard peak area ratios measured from injection of the calibration curves. For those compounds without their isotope-labelling analogues as the internal standards, 13C6-fructose was used a common internal standard.  Concentrations of the analytes were calculated by interpolating the calibration curves of individual compounds with their analyte-to-internal standard peak area ratios measured from injection of the sample solutions.

Short chain fatty acid analysis

Quantification of short-chain fatty acids was performed in-house according to a method developed by Han et al., with minor modifications(46).  Briefly, 500 µL of supernatant were mixed with 500 µL of 50 % acetonitrile, then the mixture was vortexed for 5 minutes and centrifuged at 7000 x g for 5 minutes. 50 µL of the organic phase were derivatized adding 20 µL of 200 mM 3NPH in 50 % acetonitrile and 20 µL 120 mM EDC solution of 6 % pyridine in 50 % acetonitrile. The mixture was left under agitation at 40 ºC for 30 minutes. After this time reaction was stopped adding 100 µL of 0.1 % formic acid in 90 % acetonitrile. All samples were injected in the mass spectrometer right after being processed. An LC-MS/MS system that was equipped with an Agilent Technologies 1200 high performance liquid chromatography (HPLC) instrument, an Agilent 6460 triple quadrupole (QQQ) mass spectrometer, and a reversed-phase column Zorbax 300 C18 250 × 4.6 mm (Agilent Technologies) was employed. MS was conducted in positive ion mode with an electrospray ionization voltage of 3500 V, while using 50 psi nebulizer gas at a temperature of 350ºC. The sample injection volume was 5 µL. LC separation was performed while using mobile phase A (0.1 % formic acid in 3 % acetonitrile 97% water) and mobile phase B (0.1 % formic acid in 90 % acetonitrile), at a flow rate of 650 uL/min. The separation gradient was as follows: 20% B for 3 min., 20 to 30 % B in 1 min. 30 to 40% B in 7 min., 40 to 50 % in 2 min., 50 to 100 % in 2 min., 100% for 1 min., 100 to 20 in 1 min., and 20 % for 2 min. A collision energy of 10V was used for multiple reaction monitoring (MRM), and LC-MS/MS data were analysed by Mass Hunter Qualitative Analysis B.06.00 software (Agilent Technologies).